EV Charging Station Data Analysis

Methodology & Step-by-Step Rebuild Guide

SolarEdge data, Aug 1, 2025 – Jul 2, 2026  |  Eastern Kentucky solar + grid hybrid EV charger

# 1. What the raw data looked like

The zipped export contained 48 weekly CSV files named like "power-chart-data 08_01_2025 to 8_8_2025.csv", plus a handful of monthly/comparative summary files that weren't used. Each weekly CSV had 15-minute interval readings with these columns:

- Measurement Time

- Production (kW) — what the solar array generated

- To Building (kW) — production sent directly to the load

- To Grid (kW) — production exported to the grid

- Consumption (kW) — total site load (building + any EV charging)

- From Solar (kW) — consumption covered by solar

- From Grid (kW) — consumption covered by grid import

Note the SolarEdge export has no separate "EV charger" column — the EV load has to be inferred from spikes in total Consumption, which is what step 3 does.

# 2. Combining the 48 files into one dataset

- Read every "power-chart-data*.csv" file and parsed Measurement Time as a real datetime (files use UTF-8-with-BOM encoding, so read with utf-8-sig).

- Concatenated all files, then dropped duplicate timestamps (the weekly files overlap slightly at their edges) and sorted by time.

- Filtered to Aug 1, 2025 through Jul 2, 2026.

- Checked for gaps: 32,252 of an expected ~32,256 rows were present — only one 1-hour gap, which lines up with the spring-forward DST change. Otherwise the year is complete.

Result: one continuous table, 32,252 rows, one row per 15 minutes, zero duplicate timestamps.

# 3. Defining a "charging session"

Per your instructions: if Consumption exceeds 10 kW in a given 15-minute interval, treat that interval as EV charging (car load). A "session" is a run of consecutive flagged intervals. This is inherently sequential logic (each row depends on the previous row), so it was built as a chain of simple formulas rather than one big formula:

- Car Load Flag:  =IF(F2>10,1,0)

- Session Start Flag:  =IF(AND(J2=1,J1=0),1,0)

- Session Counter:  =L1+K2

- Session ID:  =IF(J2=1,L2,"")

Chaining these four columns across all 32,252 rows reproduces exactly what a Python groupby/threshold approach would give — it was cross-checked against a pandas prototype (pandas: 338 sessions detected; Excel formulas: 338 sessions detected, matching exactly).

One gotcha worth flagging if you rebuild this: MINIFS and MAXIFS need the "_xlfn." prefix when written by a script rather than typed directly into Excel, or some spreadsheet apps (LibreOffice in particular) won't recognize the function and will throw #NAME? errors.

# 4. Time-of-day buckets

Every interval and every session gets classified by the hour of its timestamp, using one rule applied consistently everywhere:

- Morning: 6:00 AM – 11:59 AM

- Afternoon: 12:00 PM – 5:59 PM

- Evening: 6:00 PM – 9:59 PM

- Night: 10:00 PM – 5:59 AM

Formula: =IF(OR(HOUR(time)>=22,HOUR(time)<6),"Night",IF(HOUR(time)<12,"Morning",IF(HOUR(time)<18,"Afternoon","Evening")))

# 5. The workbook, sheet by sheet

## Raw Data (15-min)

All 32,252 combined readings, plus five helper columns computed live in Excel: Date, Time of Day, Car Load Flag, Session Start Flag, Session Counter, and Session ID (the chain from Section 3).

## Charging Sessions

One row per detected session (338 total). Session ID is the only hard-coded value (1, 2, 3…); every other column — start time, end time, duration, average/peak load, energy, time-of-day, solar share — is a formula that pulls from Raw Data using that session's ID as the lookup key.

## Daily Summary

One row per calendar day (336 days, hard-coded dates). Formulas roll up production, consumption, net energy, self-sufficiency %, session count, and charging hours split by time-of-day, all pulling from Raw Data and Charging Sessions.

## Monthly Summary

One row per month (12 months, hard-coded month-start dates). Formulas roll up the Daily Summary sheet using date-range SUMIFS (>= month start, < next month start).

## Time of Day Analysis

Four rows — Morning / Afternoon / Evening / Night — aggregating the Charging Sessions sheet: session count, % of all sessions, total hours, average duration, average and peak load, and total energy.

## Portfolio Dashboard

KPI cards and six charts, all formulas/chart references pointing at the sheets above (nothing on this tab is a typed-in number except the 1.2 hrs/day rural benchmark, which is an external reference point you provided).

| Calculation | Formula pattern | What it does |
| --- | --- | --- |
| Car Load Flag | =IF(F2>10,1,0) | Consumption column F; 1 if this 15-min interval looks like EV charging |
| Session Start Flag | =IF(AND(J2=1,J1=0),1,0) | 1 only on the first interval of a new session (flag turns on) |
| Session Counter | =L1+K2 | Running total of session starts so far (self-referencing down the column) |
| Session ID | =IF(J2=1,L2,"") | Tags every interval that belongs to a session with that session's number |
| Session Start Time | =_xlfn.MINIFS(Raw!A:A,Raw!SessionID,id) | Earliest timestamp with this Session ID |
| Session End Time | =_xlfn.MAXIFS(Raw!A:A,Raw!SessionID,id) | Latest timestamp with this Session ID |
| Session Duration (hrs) | =COUNTIFS(Raw!SessionID,id)*0.25 | Count of 15-min intervals in the session, times 0.25 |
| Session Energy (kWh) | =SUMIFS(Raw!Consumption,Raw!SessionID,id)*0.25 | Sum of kW readings in the session, times 0.25 (kWh per interval) |
| Daily Production/Consumption | =SUMIFS(Raw!Prod,Raw!Date,date)*0.25 | Same kWh-conversion logic, rolled up by day |
| Daily Self-Sufficiency % | =SUMIFS(Raw!FromSolar,Raw!Date,date)*0.25/Consumption | Share of that day's consumption that came from solar |
| Monthly rollups | =SUMIFS(Daily!Prod,Daily!Date,">="&start,Daily!Date,"<"&nextmonth) | Daily Summary rolled up by calendar month |

# 6. Dashboard KPI calculations

- Total Production / Consumption: =SUM of the Daily Summary column

- Net Energy Gap: Production − Consumption

- Overall Self-Sufficiency: Production ÷ Consumption

- Total Sessions: last Session ID on the Charging Sessions sheet

- Avg Charging Hrs/Day: =AVERAGE of Daily Summary's "Total Charging Hours" column (across all 336 days, including zero-session days)

- Overnight Share of Sessions: =COUNTIF(Time of Day = "Night") ÷ total sessions

# 7. Validating the numbers

- Built a pandas prototype first (threshold + groupby) and confirmed it agreed with the Excel formula chain: 338 sessions, same average duration (1.47 hrs).

- Recalculated every formula in the workbook with LibreOffice headless (201,068 formulas) and confirmed zero errors before treating any sheet as final.

- Spot-checked individual rows by hand (e.g., row 140–143 in Raw Data) to confirm the flag → start-flag → counter → session ID chain produced the expected session boundaries.

# 8. The interactive HTML dashboard

Built as a companion to the workbook, because Excel charts can't do hover tooltips or live filtering the way a browser can. Approach:

- Aggregated exactly the same Daily Summary, Monthly Summary, Charging Sessions, and Time of Day tables out of the finished workbook into a JSON object (no separate recomputation — the HTML file trusts the Excel numbers).

- Embedded that JSON directly in the HTML file (~150 KB) so the page needs no server or internet connection to run, other than loading fonts and the Chart.js library from a CDN.

- Used Chart.js for the bar/line charts (monthly production vs. consumption, self-sufficiency trend, time-of-day breakdown, session-length histogram), with toggle buttons that swap the chart's dataset client-side.

- Built the year-long calendar heatmap by hand (a grid of colored divs, one per day, colored by that day's charging hours) since that visualization isn't a built-in Chart.js type — each cell has a mouseover listener that shows a tooltip with that day's session count, hours, and time-of-day split.

- Design direction: a muted "Appalachian field-report" palette (moss green, slate blue, goldenrod, soft paper background) instead of a generic corporate dashboard look, with a topographic contour-line motif in the header to nod to the setting.

# 9. If you wanted to rebuild this yourself

- Combine the CSVs first and eyeball the date range / row count before doing anything else — catching gaps or duplicate timestamps early saves a lot of confusion later.

- Build the Raw Data helper columns (flag → start flag → counter → session ID) before anything else; every other sheet depends on Session ID existing.

- Build Charging Sessions next (it depends only on Raw Data), then Daily Summary (depends on Raw Data + Sessions), then Monthly Summary (depends only on Daily Summary).

- Save and recalculate after each sheet, and check for #NAME?/#REF! errors before moving to the next one — it's much easier to debug one sheet at a time than to chase an error through five layers of formulas at once.

- Build the dashboard last, once every number it references already exists and is verified.

Companion files: EKY_EV_Charging_Portfolio_Analysis.xlsx (full workbook), EKY_EV_Portfolio_Dashboard.html (interactive version), EKY_EV_Raw_15min_Data_Combined.xlsx (raw data only).